## Bid 9-21-26
Item Name | Price Per Unit | Quantity | Total Price | PSC # | NAICS Code (Always 221122) | Manufactured product type | Comply with BABA? | Quoted Manufacturer | Quoted P/N | BABA Compliant Manufacturer | BAB Compliant P/N | UOM | GVP Default Vendor Name | GVP Item Number | GVP Default manufacturer P/N | Notes
ANCHOR, SHACKLE 5/8" |  | 5 | 0 | 5975 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | MACLEAN | 30201858 | J2742
BAIL, HOT LINE CLAMP |  | 10 | 0 | 5975 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | BURNDY | 30451000 | J990
BOLT, CARRIAGE 1/2" X 6" |  | 5 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 30500356 | 8646
BOLT, D.A. 5/8" X 20" |  | 5 | 0 | 5680 | 221122 | I | Yes |  |  | MACLEAN | J8870US | EA | MACLEAN | 30502520 | J8870
BOLT. D.A. 5/8" X 22" |  | 5 | 0 | 5680 | 221122 | I | Yes |  |  | MACLEAN | J8872US | EA | MACLEAN | 30502522 | J8872
BOLT, EYE 5/8 X 10 |  | 25 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 30505510 | 29960
BOLT, EYE 5/8 X 12 |  | 25 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 30505512 | 29962
BOLT, EYE 5/8" X 14" |  | 25 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 30505514 | 29964
BOLT, MACHINE 5/8" X 10 |  | 50 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 30506510 | 8810
BOLT, MACHINE 5/8" X 12 |  | 50 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 30506512 | 8812
BOLT,MACHINE 5/8" x 14" |  | 50 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 30506514 | 8814
BOLT, MACHINE 5/8" X 16 |  | 50 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 38506516 | 8816
BRACKET, NEUTRAL OFFSET |  | 2 | 0 | 5975 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | Hubbell | 30805000 | DC6N1
CLAMP, DEADEND #4- 4/0 |  | 8 | 0 | 5975 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | MACLEAN | 31003040 | HDSO-57
CLAMP, GROUND ROD 5/8" CU. |  | 50 | 0 | 5975 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | ERICO | 31004200 | CP58 | LINE HARDWARE RC-58CB may BABA
CLAMP, HOT LINE - CU TO CU 2/0 |  | 10 | 0 | 5975 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 31005020 | BC-20
CLEVIS, RIGID 3" - FOR K14C, J |  | 15 | 0 | 5975 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 31404003 | 0 327
CONNECTOR, CRIMPIT WR 189 |  | 28 | 0 | 5975 | 221122 | C | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | BLACKBURN | 31550189 | 289
CRIMPIT, YC4C4 |  | 28 | 0 | 5975 | 221122 | C | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | BURNDY | 31550044 | C4C4
CRIMPIT,YC4C6 |  | 10 | 0 | 5975 | 221122 | C | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | BURNDY | 31550046 | C4C6
CONN, TRANS . GROUND LUG |  | 50 | 0 | 5975 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  | ABB/Homac | Need Alt | EA | HOMAC | 31502000 | TTC2 | LINE HARDWARE TGL-208 may be BABA
FUSE,25KV/14.4 STD SPEED 10E |  | 1 | 0 | 5920 | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | EA | S&C | 31772510 | S&G #613010
FUSE,15KV/7.2 STD SPEED 5 STD |  | 5 | 0 | 5920 | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | EA | S&C | 31770005 | 64005
FUSE,15KV/7.2 STD SPEED 30STD |  | 5 | 0 | 5920 | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | EA | S&C | 31770030 | 64030
FUSE,15KV/7.2 STD SPEED 2AMP |  | 5 | 0 | 5920 | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | EA | S&C | 31770002 | 64002
GUY ATTACHMENT W/EYELET 5/8" |  | 3 | 0 | 5980 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | MACLEAN | 31801210 | MGA-5
LINK STRAIGHT FOR POLE BAND |  | 4 | 0 | 5980 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | Hughes Bros | 31801501 | Hughes Brothers# 3152, Hubbell# J6650
GUY DEADEND 3/8" - PREFORMED |  | 5 | 0 | 5680 | 221122 | I | Maybe BABA Please provide letter |  |  | PLP | GDE1107 | EA | PLP | 31802138 | GDE1107
GUY DEADEND, STRANDVISE 3/8" |  | 5 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL OR MACLEAN | 31802238 | Hubbell GDE5202 OR Maclean 5102
GUY GUARD |  | 5 | 0 | 5680 | 221122 | C | Maybe BABA Please provide letter |  |  |  |  | EA | PLP | 31804000 | PG5518
INSULATOR, FISH 78" CLEVIS/THEMBLE |  | 5 | 0 | 5970 | 221122 | C | Yes |  |  | Aluma Form | FGS21-78CT | EA | ALUMA FORM | 32001000 | FGS21-78CT
INSULATOR, PIN TYPE 14.4 - J |  | 2 | 0 | 5970 | 221122 | C | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | Victor | 32003214 | 1027ST
INSULATOR, SPOOL 3" |  | 12 | 0 | 5970 | 221122 | C | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  | PPC | 5101 | EA | PPC | 32008003 | 5101
STAPLES,1-1/2x1/4 SLASH POINT |  | 1000 | 0 | 5680 | 221122 |  | N/A |  |  |  |  | EA | MACLEAN | 32009000 | J1672
NUT,EYE 5/8" |  | 5 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 32702058 | 6502
LOCKNUTS 5/8" #3512 |  | 100 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 32704058 | 3512 | TF 62CNMFG/SQ/DOM may be BABA
PIN, POLE TOP 14.4 |  | 2 | 0 | 5680 | 221122 | I | Yes |  |  | Hubble | 2195P | EA | HUBBELL | 32805014 | 2195P
BUSHING COVER HALF |  | 2 | 0 | 5970 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | MIDSUN | 33001085 | WUEB #E/BC-HALF
BUSS, SEC. INSULATED 6 TAP |  | 9 | 0 | 5970 | 221122 | M | Yes |  |  | ABB/Homac | RAB6-C | EA | HOMAC | 33002206 | RAB6-C
ROD, GROUND 5/8" CU |  | 40 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  | GALVAN INDUSTRIES | 615883 | EA | GALVAN INDUSTRIES | 34005258 | 615883 | This is buy american not BABA
SCREW, LAG 1/4 X 2 1/2 |  | 1000 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | ELECTRICAL MATERIALS CO | 34253001 | 105MSS
SCREWS, LAG, TWIST, 1/2" X 4" |  | 25 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 34253004 | 508500
TIE, #4-SUPER TOP |  | 5 | 0 | 6145 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 36001004 | STT20
RISER GUARD 3" SCH 40 |  | 80 | 0 | 5680 | 221122 | M | YES-Please Provide BABA Letter at time of order |  |  | PRIME CONDUIT | 59013N | EA | PRIME CONDUIT | 36004530 | 59013N
TRIPLEX, DEADEND #2 |  | 20 | 0 | 6145 | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | FT | PLP | 36009002 | SG-4504
WASHER, SQUARE 2 1/4" FLAT |  | 50 | 0 | 5680 | 221122 | I | YES |  |  | MACLEAN | J1075-US | EA | MacLean | 36503002 | J1075-US
WASHER, 3" CURVED |  | 50 | 0 | 5680 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | Hughes Bros | 36503103 | 682212
ALUM. TRANS.CONN. 350 MCM 5/8" 6 POSTIO |  | 60 | 0 | 5935 | 221122 | M | Yes |  |  | ABB/Homac | CSW6350 SLC | EA | HOMAC | 36506307 | CSW6350 SLC
Pulling GRIP, KELLEMS 1.00 - 1.24 (Underground Designed Grips) |  | 25 | 0 |  | 221122 |  | Maybe BABA Please provide letter |  |  |  |  | EA | HUBBELL/Bryant | None | SPC100SO
GRIP, KELLEMS 1.00 - 1.24 |  | 5 | 0 |  | 221122 |  | Maybe BABA Please provide letter |  |  |  |  | EA | HUBBELL/Bryant | 37000124 | SPC100SO
COVER CAP, 25KV - INSULATED PROTECTION |  | 6 | 0 | 5970 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | ELASTIMOLD | 37022500 | 273DRG | ABB 273DRG(3) Should be BABA we need a CERT
WIRE, #4 STR. COVERED COPPER |  | 500 | 0 | 6145 | 221122 | M | YES |  |  | Service wire | Wire From Culloden, WV; Houston, TX; and Phoenix, AZ. | FT | Service Wire | 38003704 | 4-7RHH | When ordering need to ask for the cert they have a statement noting location
WIRE, #2 STR. COVERED COPPER |  | 500 | 0 | 6145 | 221122 | M | YES |  |  | Service wire | Wire From Culloden, WV; Houston, TX; and Phoenix, AZ. | FT | Service Wire | 38003702 | 2-7 Cu Use-2 Rhh-Rhw | When ordering need to ask for the cert they have a statement noting location
WIRE, #8 SD BARE CU SOLID |  | 1000 | 0 | 6145 | 221122 | M | YES |  |  | Service wire | Wire From Culloden, WV; Houston, TX; and Phoenix, AZ. | FT | Service Wire | 38003408 | BS0S8DP | When ordering need to ask for the cert they have a statement noting location
WIRE, #6 SOLID SD COPPER |  | 630 | 0 | 6145 | 221122 | M | YES |  |  | Service wire | Wire From Culloden, WV; Houston, TX; and Phoenix, AZ. | FT | Service Wire | 38003406 | BSOS6DP | When ordering need to ask for the cert they have a statement noting location
WIRE, #4 SD BARE CU SOILD |  | 600 | 0 | 6145 | 221122 | M | YES |  |  | Service wire | Wire From Culloden, WV; Houston, TX; and Phoenix, AZ. | FT | Service Wire | 38003404 | BSOS4DP | When ordering need to ask for the cert they have a statement noting location
WIRE, GUY STRAND 3/8" |  | 250 | 0 | 6145 | 221122 | C | YES |  |  | National Strand | 1070317 | FT | National Strand | 38005038 | 1070323 | Must be requested as BABA when ordering
SPLICE, 25 KV-1/0 MCM |  | 12 | 0 | 5935 | 221122 | M | Maybe BABA Please provide letter |  |  | ABB/Homac | Need Alt | EA | ABB/ELASTIMOLD | 58022510 | 25PCJ1H1240
TERMINAL, PIN #2 |  | 50 | 0 |  | 221122 |  | Yes |  |  | ABB/Homac | U5U2 | EA | HOMAC | 38506002 | U5U2
TERMINAL, PIN #4/0 |  | 25 | 0 |  | 221122 |  | Yes |  |  | ABB/Homac | RX5U40 | EA | HOMAC | 38506040 | RX5U40
TERMINAL, PIN 350 |  | 25 | 0 |  | 221122 |  | Yes |  |  | ABB/Homac | RX5U336 | EA | HOMAC | 38506035 | RX5U336
ELBOW, LB 25 KV-1/0 MCM |  | 60 | 0 | 5940 | 221122 | M | Yes |  |  | ABB/ELASTIMOLD | 262LRJS-C5240 | EA | ABB/ELASTIMOLD | 59016410 | 262LRJS-C5240
TERMINATOR, 25 KV - 1/0 MCM |  | 5 | 0 | 5940 | 221122 | M | Maybe BABA Please provide letter |  |  | 3M | PCT21240-4 | EA | 3M | 59022210 | PCT21240-4
ANCHOR, CROSS PLATE 20" |  | 6 | 0 | 5680 | 221122 | I | Yes |  |  | MCLEAN | J3520US | EA | CHANCE | 20200300 | X20
ARRESTER, 10kV, MED DUTY |  | 2 | 0 | 5920 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 20300407 | 217259-7324 | Eaton Cooper may havae a BABA compliant material: 18KV HD U-SIL ARR W/BRKT/URT18080A1A1B1A
CUTOUT/ARRESTER COMBO 15kV |  | 1 |  |  |  |  | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. | [5 empty] | HUBBELL | 20300807 | CP71DL112PB
BRACKET,STANDOFF 24" |  | 2 | 0 | 5975 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 20809000 | 1SBM24SGL
BRACKET, CLOVERLEAF 18" |  | 6 | 0 | 5975 | 221122 | I | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 20809010 | 1SBM18CL
CUTOUT,FUSED NON LOADBREAK 15KV |  | 1 |  |  | 221122 |  | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  | ICX | EA | HUBBELL | 21750200 | CP710112PB
CUTOUT, FUSED W/LOADBREAK 15/27KV |  | 5 | 0 | 5920 | 221122 | M | Yes |  |  | ABB | LBU/LBU-II (Wesco Number is Y2JCBNQA12) | EA | ABB | 21750114 | Y2JCBNQA12
EPOXILATORS 25KV |  | 5 | 0 | 5970 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 22007025 | 401025-0215
POLE, WOOD 35'/4 |  | 9 | 0 | 5510 | 221122 | C | YES |  |  | Bell | WRC 4/35 W1.1G | EA | Bell | 23003504 | WRC 4/35 W1.1G | When ordering need to ask for the cert
POLE, WOOD 40'/4 |  | 1 | 0 | 5510 | 221122 | C | YES |  |  | Bell | WRC 4/40 W1.1G | EA | Bell | 23004004 | WRC 4/40 W1.1G | When ordering need to ask for the cert
POLE, WOOD 45'/4 |  | 3 | 0 | 5510 | 221122 | C | YES |  |  | Bell | WRC 4/45 W1.1G | EA | Bell | 23004504 | WRC 4/45 W1.1G | When ordering need to ask for the cert
POLE, WOOD 55/4 |  | 1 | 0 | 5510 | 221122 | C | YES |  |  | Bell | WRC 55/4 W1.1G | EA | Bell | 23005504 | WRC 55/4 W1.1G | When ordering need to ask for the cert
ROD, ANCHOR 3/4" X 8' TWINEYE |  | 6 | 0 | 5680 | 221122 | I | YES |  |  | Hubbell | 5358 OR J7528 | EA | Hubbell | 24001275 | 5358 OR J7528
WIRE, #4 ACSR 7/1 - 14.9'/# |  | 8955 | 0 | 6145 | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | FT | SOUTHWIRE | 28002004 | Swanate 8955FT Reels | There may be a product that is BABA complaint
WIRE, #2 TRIPLEX - 3.62'/# |  | 1800 | 0 | 6145 | 221122 | M | YES |  |  | Service wire | Wire From Culloden, WV; Houston, TX; and Phoenix, AZ. | FT | Service Wire | 28006002 | #2 Triplex Conch 1800' REEL
ARRESTER, 10KV, RISER |  | 5 | 0 | 5920 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | HUBBELL | 51501009 | HUBBELL 221609-7324
ARRESTER, ELBOW 15 KV SURGE |  | 7 | 0 | 5920 | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | ELASTIMOLD | 51511007 | 167ESA-10 | We have seen that there is BABA for 7.2KV there may be a 25KV Version
CAB SECT 1PH 25KV W/MODULE |  | 6 | 0 | 5930 | 221122 | M | YES |  |  | NORDIC | ND-362454-MG-110-4152-W1A | EA | NORDIC | 54000502 | ND-362454-MG-1104252W1A
VAULT,ROUND W/COVER & RING |  | 9 | 0 | 5670 | 221122 | M | YES |  |  | RINKER | 40400, 40150, 40750 | EA | RINKER | 57250000 | 40400, 40150, 40750
JUNCTION BOX ABOVE GRADE |  | 3 | 0 | 6130 | 221122 | M | YES |  |  | NORDIC | AG-15HDXB0005P3 WUE #PSP-151530-MG-CE | EA | NORDIC | 57301002 | AG-15HDXB0005P3 WUE #PSP-151530-MG-CE
SWITCHGEAR, PMG-9 25KV |  | 1 | 0 | 5930 | 221122 | M | YES |  |  | SPS | 65152R1-E3, SPFC-315-22-PF-22-EE | EA | SPS | 58350014 | 65152R1-E3
GROUND SLEEVE, TRANS 1-PH (TALL) |  | 19 | 0 | 5670 | 221122 | M | YES |  |  |  |  | EA | NORDIC | 59506350 | CBP-37-43-24A-AB-2
*WIRE, URD TRIPLEX 350 W/ 4/0 |  | 4000 | 0 | 6145 | 221122 | M | YES |  |  | SOUTHWIRE | SOUTH WIRE -WESLEYAN | FT | SOUTHWIRE | 59905035 | SOUTH WIRE -WESLEYAN
WIRE, 25 KV-1/0 MCM OKONITE |  | 17500 | 0 | 6145 | 221122 | M | YES |  |  | OKONITE | 163-23-4072 | FT | OKONITE | 59922510 | 163-23-4072
METER PEDESTAL |  | 2 | 0 | 6130 | 221122 | M | YES |  |  | DURHAM |  | EA | DURHAM | 66000001
XFMR 1.0 KVA CONV 7.2 120V |  | 1 | 0 | 6120 | 221122 | M | YES |  |  | ERMCO | 30131-102DOE | EA | ERMCO | 16701012 | 30131-102DOE | When ordering need to ask for the cert
XFMR PAD 15 KVA 1PH 7.2 120/240 |  | 18 | 0 | 6120 | 221122 | M | YES |  |  | ERMCO | 8-40111-200DOE | EA | ERMCO | 17701512 | 8-40111-200DOE | When ordering need to ask for the cert
XFMR PAD 50 KVA 1PH 7.2 120/240 |  | 1 | 0 | 6120 | 221122 | M | YES |  |  | ERMCO | 8-70111-200DOE | EA | ERMCO | 17715012 | 8-70111-200DOE | When ordering need to ask for the cert
Hill Huggers |  | 3 | 0 | 5450 | 221122 | M | YES |  |  |  |  | EA | NORDIC | 59506310 | NHH-32-46-52-MG
3" HDPE SDR 11 |  | 22000 | 0 | 5630 | 221122 | M | Must request this to be BABA at time of order |  |  | DURA-Line | HDP300RSDR011SWBLKREDNEMPTDSSR1 | EA | Duraline
3" Elbows-PVC 48" sweep |  | 5 | 0 | 5630 | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | EA | Atkore/Prime
3" Elbows 90degree-PVC 36" sweep |  | 5 |  |  |  |  | Maybe BABA Please provide letter |  |  |  |  | EA | Atkore/Prime | 36203090
CONDUIT, PVC 3" SCH 40 10'LENGTH |  | 5 | 0 | 5630 | 221122 | C | YES |  |  | ATKORE IS PREFFERED |  | EA | ATKORE IS PREFFERED | 56002030
CONDUIT, PVC 2.5" SCH 40 10'LENGTH |  | 1 | 0 | 5630 | 221122 | C | YES |  |  | ATKORE IS PREFFERED |  | EA | ATKORE IS PREFFERED | 56002030
3" to 2.5" Reducer PVC |  | 5 | 0 |  | 221122 | M | NO-Need alt if available. If not, quote default vendor and material or an acceptable alternate. |  |  |  |  | EA | TBD
3" HDPE to PVC Transistion |  | 2 | 0 |  | 221122 | M | YES-Please Provide BABA Letter at time of order |  |  | SHUR-LOCK II COUPLER | 20000173 | EA | OMNICable
Storm Safe-#2 Triplex Connector |  | 45 | 0 |  | 221122 | M | Maybe BABA Please provide letter |  |  |  |  | EA | Blackburn | TBD
Storm Safe-#4 Triplex Connector |  | 15 | 0 |  |  |  | Maybe BABA Please provide letter | [5 empty] | Blackburn | TBD
Storm Safe-#6 Triplex Connector |  | 10 | 0 |  |  |  | Maybe BABA Please provide letter | [5 empty] | Blackburn | TBD
HEAT SHRINK PRIMARY 1/0 - 48" |  | 10 | 0 | 6105 | 221122 | C | YES |  |  | 3M | 8452 | EA | 3M, TE OR RAYCHEM | 38007836 | MWTM 85/25-1200-S
Gravel |  | By contractor | #VALUE! | 5680 | 221122 | C | YES |  |  | Local outfit |  | Cubft | Local | N/A
Backfill |  | By contractor | #VALUE! | 5680 | 221122 | C | YES |  |  | Local outfit |  | Cubft | Local | N/A
Pole Foam |  | 41 | 0 |  | 221122 |  | N/A | [5 empty] | POLECRETE | 30100188 | PS-230W POLE SET KIT 30LB MUST SHIP PART A AND B
#SGD-0700 GUY WIRE CAGE |  | 50 | 0 |  | 221122 |  | N/A | [6 empty] | 38005030 | #SGD-0700 GUY WIRE CAGE
UNDERGROUND WARNING SIGN PLASTIC STACK |  | 24 | 0 |  | 221122 |  | N/A | [5 empty] | UNDERGROUND WARNING SIGN PLASTIC STACK | 34300003 | UNDERGROUND WARNING SIGN PLASTIC STACK
WARNING TAPE UG |  | 24 rolls 500' | 0 | 5680 | 221122 |  | N/A | [5 empty] | WARNING TAPE UG | 34300002 | ND6R2
POLYWATER - PJ 128 |  | 72 | 0 |  | 221122 |  | N/A | [5 empty] | POLYWATER - PJ 128 | 30100128 | POLYWATER - PJ 128
CRC CABLE CLEAN RD 02150 |  | 24 | 0 |  | 221122 |  | N/A | [5 empty] | CRC CABLE CLEAN RD 02150 | 30012150 | CRC CABLE CLEAN RD 02150
#SL150 SILICONE LUBRICANT |  | 24 | 0 |  | 221122 |  | N/A | [6 empty] | 30010150 | HUBBELL G661 5.3 TUBE
TAPE-SCOTCH 3/4" VIOLET 35 |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30011271 | TAPE-SCOTCH 3/4" VIOLET 35
TAPE-SCOTCH 3/4" BROWN 35 |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010885 | TAPE-SCOTCH 3/4" BROWN 35
TAPE SUPER 88 3/4" BLACK |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010875 | TAPE SUPER 88 3/4" BLACK
TAPE-SCOTCH 3/4" ORANGE 35 |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010869 | TAPE-SCOTCH 3/4" ORANGE 35
TAPE - SCOTCH 3/4" GREEN 35 |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010851 | TAPE - SCOTCH 3/4" GREEN 35
TAPE - SCOTCH 3/4" YELLOW 35 |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010844 | TAPE - SCOTCH 3/4" YELLOW 35
TAPE SCOTCH 35 3/4" BLUE |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010836 | TAPE SCOTCH 35 3/4" BLUE
TAPE SCOTCH 35 3/4" WHITE |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010828 | TAPE SCOTCH 35 3/4" WHITE
TAPE SUPER 88 1-1/2" BLACK |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010815 | TAPE SUPER 88 1-1/2" BLACK
TAPE SCOTCH 35 3/4" RED |  | 100 | 0 |  | 221122 |  | N/A | [5 empty] | Scotch | 30010810 | TAPE SCOTCH 35 3/4" RED
Note on C87: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Reels come in 1,000. Added more length due to elevation changes
Note on C88: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added more to take into account potential length changes.